## Slide 1: Paper study
2504.08932

## Slide 2: TEST BOARD
Charge injector
(INPUT)
Amp. 1
Amp.
2
OUTPUT

## Slide 3: Experiment setup
Low jitter clock source: SiLabs Si5332-6EX-EVB
  Set to 84.3MHz
  Jitter 100 fs
Delay: NB6L295
  11ps per step
AND gate: MC100LVEP05
Amplify: Minicircuits Gali S66+
LeCroy WaveRunner 610Zi

## Slide 4: Test signal
AND
delay
+
noise
The real signal is not a square wave
Test signal width ~1ns

## Slide 5: Gain
Change attenuation for the test

## Slide 6: Time resolution
is the time resolution of the system
where
= Noise RMS
Signal-to-noise ratio (SNR) significantly enhance the time resolution

## Slide 7: Time resolution
Change attenuation (change SNR) for the test

## Slide 8: Test signal time resolution
Attenuator effect in the time resolution is negligible

## Slide 9: Conclusion

## Slide 10: KCU105
6 - Si5335A-B02436-GM
  OUT0 300MHz
  OUT1 125MHz
  OUT2 90MHZ
  OUT3 33.3MHz
  Jitter 300 fs
7 - Si570BAB0000544DG
  OUT0 10MHz - 945MHz or 1.4GHz
  Jitter 300 fs
8 - Si5328B-C-GM
  OUT0 0.008MHz- 808MHz
  Jitter 300 fs
No clock output pin found, no free lunch

## Slide 11: Thank you for listening