## Slide 1: Geant4 Simulation
Chu’s cosmic setup + Ecomug
BM2 LYSO PbWO4 BM1

## Slide 2
Ereco = a0 * E1x1 + a1*E3x3 + a2*E5x5 + b
Crystal ball
Double sided Crystal ball
Xiao’s plots

## Slide 3
Status updating
ML Regression result
Linear Regession result
6X0

## Slide 4
Status updating
Catch up plots in Xiao’s report
z-axis is energy deposition
Leakage to behind

## Slide 5
Status updating
Plots from Xiao’s report
BMdx =0 & BMdy =0
No selection
X mean =0 Y mean = -4.9
X mean =0.34 Y mean = -4.9

## Slide 7
Ereco = a0 * E1x1 + a1*E3x3 + a2*E5x5 + b
Crystal ball
Double sided Crystal ball
Lower resolution at low energy
Xiao’s plots

## Slide 8
Status updating
ML Regression result
Linear Regession result
6X0

## Slide 9: Hit Distribution : BM2
Hits position : 2D
Hits position in X
Hits position in Y
Hit Multiplicity in X
Hit Multiplicity in Y
*Equal-weighted method
*Pass no hits events
Beam Profile

## Slide 10: Hit Distribution : BM1
Hits position : 2D
Hits position in X
Hits position in Y
Hit Multiplicity in X
Hit Multiplicity in Y
*Equal-weighted method
*Pass no hits events
Beam Profile

## Slide 11
Status updating
Chu’s Setup running on chip05.
Linear Regession result
Ereco = a0 * E1x1 + a1*E3x3 + a2*E5x5 + b
Ebeam fitted by Gauss
E5x5, E5x5reco,hRatio fitted by Crystalball

## Slide 12
Status updating
Chu’s Setup running on chip05.
ML Regression result
Linear Regession result
6X0
8X0
Linear regression only scale back the mean but don’t improve the resolution.
6X0

## Slide 13
Status updating
GID is wrong
Beam profile
LYSO iXiY hitmap
APD iXiY hitmap
LYSO iXiY GID mapping
APD iXiY GID mapping
MC setting(after2025/11):
Energy:
50MeV~800MeV positron beam
Position:
X: -10mm +- 20mm
Y: 10mm +- 20mm
Direction: (0,0,1)
Optical: Activated/inactivatred (only crystal)
GDML:
BM: Ready
PbWO4: Ready
LYSO: there’re some shifting.(done)
(mm)
(mm)

## Slide 14
Status updating
MC file: 6X0_PbWO4_noOptical_noGDML
Input variables for regression:
E1x1
E3x3
E5x5
Target :
@628MeV
E1st
E2nd
E3rd
E4th
nHits
We get better resolution
Importance
Deviation
Relation
Train & Test

## Slide 15
Status updating
Chu’s Setup running on chip05.
Fitting by DCB
Fitting by Gauss
ML Regression result

## Slide 16
Status updating
MC file: 6X0_PbWO4_noOptical_noGDML
Input variables for regression:
E1x1
E3x3
E5x5
Target :
E1st
E2nd
E3rd
E4th
nHits
Importance
Deviation
Relation
Train & Test
@47MeV
ML regression looks bad.

## Slide 17
Status updating
MC file: 6X0_PbWO4
Input variables for regression:
E1x1
E3x3
E5x5
Target :
@539MeV
E1th
E2th
E3th
E4th
nHits

## Slide 18
Status updating
Chu’s Setup running on chip05.
Regression result(ML)
Good news & bad news
Scaling is back to 1; resolution is still bad. 
Fitting by DCB
Fitting by Gauss

## Slide 19
Status updating
Chu’s Setup running on chip05.
The length of crystal(PbWO4) is not long enough to observe the decreasing trend of energy resolution.

## Slide 20
Status updating
Chu’s Setup running on chip05.
BM2 LYSO
BM1
Sky
# of beam: 3000, (30k, 300k)
Particle: muon- & muon+
Optical photon is turned on
Chia-Sheng Chu’s design
GDML Files | Frame | Platform (8 platforms) | Beam Monitor | LYSO | 
 | X | O | O | O | O
GDML Files | Frame | Platform (8 platforms) | Beam Monitor | LYSO | 
 | X | O | O | O | O

## Slide 21
Status updating
LYSO
MIP
Requirement:
Each layer of BeamMonitor has hits.
MIP
Gain=50x in APD
Gain=200x in SiPM
Light escape in LYSO array
*Randomly pick a gain value
ADP total
ADP 1x1
SiPM total
SiPM 1x1
# of photons hit sensor producing signals.
Less light escape in
Hits counts on SiPM are low. (Low LY & packaging difference)
Edep(keV)
Edep(keV)
Edep(keV)
Edep(keV)
# of photons hit sensor producing signals.

## Slide 22
Status updating
Chu’s Setup running on chip05.
Hit multiplicity
Emax in LYSO array
Scattering
Shower
MIP ~ 62MeV
No consistent
No selection
One layer one hit
iX & iY of BM2 ==
iX & iY of BM1
unknown

## Slide 23
Status updating
Chu’s Setup running on chip05.
Al foil
GDML
No GDML
The difference of light escaping in LYSO array between two models.
*Different event with cosmic simulation
If we sum 3x3,5x5 ADCs with Edep in 4x4 Al-foil array hit, the resolution will be better? (less noise)

## Slide 24
Status updating
Energy | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
LYSO |  |  |  |  |  |  |  |  |  | 
Energy | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
LYSO |  |  |  |  |  |  |  |  |  | 
Energy | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
LYSO |  |  |  |  |  |  |  |  |  |  | 
Energy | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
LYSO |  |  |  |  |  |  |  |  |  |  | 
Geant4 progress (Beam test)
Done
Running
Not ready
Chu’s Setup running on chip05.
The raw rootfiles can be found on “/data8/EMcal/simulation/Lu/PbWO4_opt(LYSO_opt)/*.root”.
The Roasted rootfiles can be found on “/data4/AndyLu/SiPM_ana/rootfile/*.root”.
Energy | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
LYSO |  |  |  |  |  |  |  |  |  | 
Energy | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
LYSO |  |  |  |  |  |  |  |  |  | 
Energy | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
LYSO |  |  |  |  |  |  |  |  |  |  | 
Energy | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
LYSO |  |  |  |  |  |  |  |  |  |  | 
Data roasting progress
# of beam
LYSO: 3k
: 60k

## Slide 25
Status updating
Chu’s Setup running on chip05.
800MeV e+ beam
10X0
8X0
6X0
20X0

## Slide 26
Status updating
Chu’s Setup running on chip05.
Al foil
GDML
No GDML
The difference of light escaping in LYSO array
*Different event
Different clustering ratio

## Slide 27
Status updating
Chu’s Setup running on chip05.
197MeV e+ beam
492MeV e+ beam
It looks consistency between optical photon hit and energies deposited in PbWO4. (Multiplicity, R13, R15, R35)
But optical photon can offer better energy resolution at high energy.

## Slide 28
Summary
Simulation for Chu’s cosmic ray setup is OK.
5x5 resolution @800MeV: (noGDML version)
, SiPM = 0.167, 0.143
LYSO is undergoing tuning.
Sky
800MeV PbWO4+SiPM
NoGDML version

## Slide 31
Summary
Simulation for Chu’s cosmic ray setup is OK.
5x5 resolution @800MeV:
, SiPM = 0.167, 0.143
There is improvement on optical photon for .
LYSO is undergoing tuning.
Sky
800MeV PbWO4+SiPM

## Slide 32
Status updating
Chu’s Setup running on chip05.
160fc~400pc -> 10^6 ~ 2.5*10^9
Gain =200x
Error bar = sqrt((mean_err/mean)^2 + (width_err/width)^2)
Point = Pixel_GetFitMean/ Edep_GetFitMean
Ratio
Resolution
Pixels to Edep
Looks like the SiPM saturation curve we found one years ago.
Gain =200x
Gain =200x
5x5
5x5
Todo: linear fitting

## Slide 33
Status updating
150MeV +SiPM
Chu’s Setup running on chip05.
160fc~400pc -> 10^6 ~ 2.5*10^9
Gain =15x
*Fitting function is Gaussian
Resolution:
Gain =200x
# of fired pixels = # of photons hit sensor * PDF * Recovery_time()* Gain
Resolution:
Resolution:
According Kai-Yu, the dynamic range is 160fc to 400pC, which is 10^6 to 2.5*10^9 #_of_fired_pixels @gain=1.
Gain needs to be determined?
800MeV +SiPM
Resolution =

## Slide 34
Status updating
Optical simulation:
Hits on photon senser
Triggered on photon sensor
Time(ns)
# of pixel fired
Height
160fC to 400pC = 10 pixels to 25*10^4 pixels (if gain == 10^5)
PDE & Recovery
Integral # of pixel fired
# of events

## Slide 35
Status updating
Chu’s Setup running on chip05.
Al foil
Al foil
GDML
LYSO
PbWO4

## Slide 37
Status updating
Chu’s Setup running on chip05.
BM2 LYSO
BM1
Sky
# of beam: 3000, (30k)
Particle: muon- & muon+
Optical photon is turned on
Requirement:
  Cosmic muon pass BM1&2, LYSO, and within 50mm
View angel of my requirement
View angel of Detectors
Chia-Sheng Chu’s design
GDML Files | Frame | Platform (8 platforms) | Beam Monitor | LYSO | 
 | X | O | O | O | O
GDML Files | Frame | Platform (8 platforms) | Beam Monitor | LYSO | 
 | X | O | O | O | O

## Slide 38
Summary
Simulation for Chu’s cosmic ray setup is ready.
5x5 resolution @150MeV:
PbWO4, SiPM = 0.112, 0.116 LYSO , APD = 0.144, 0.124
Optical photon can improve the resolution of LYSO array.
The trend of resolution is still weird, even though turning on the optical photon.

## Slide 39
Status updating
Chu’s Setup running on chip05.
LYSO
PbWO4
MIP
Requirement:
Each layer of BeamMonitor has hits.
pass same X-Y channel in LYSO, and PbWO4
To be added …. (threshold….)
MIP
Gain=50x in APD
Gain=200x in SiPM
Light escape in LYSO array (Next page)
*Randomly pick a gain value
ADP total
ADP 1x1
SiPM total
SiPM 1x1
# of photons hit sensor.
Less light escape in PbWO4
Cosmic ray is not perpendicular to LYSO,PbWO4.
Hits counts on SiPM are low. (Low LY & packaging difference)

## Slide 40
Status updating
Edep(keV)
E5x5 Resolution:
# of pixel fired
511 keV
PbWO4 + SiPM Pixel/Edep
1x1 ~0.027 pixel/MeV
3x3 ~0.035 pixel/MeV
5x5 ~0.047 pixel/MeV
The trend of resolution is still weird. But yes, we should do regression first.
LYSO + APD nonlinear response
PbWO4 + SiPM linear response?
I’ll try previous regression with PbWO4 with optical photon data.
Not sure if it caused by optical photon.

## Slide 41
Status updating
We can still collect light(energy) when 3x3->5x5.
Fitting Gaussian(a little left-shifted  )
5x5 resolution @200MeV:
PbWO4, SiPM = 0.117 & 0.118 LYSO , APD = 0.141 & 0.091
Optical photon can enhance the resolution of LYSO crystal array.
200MeV PbWO4+SiPM
Resolution:
Resolution:
In experiment:
200MeV LYSO+APD
THR: Trigger Pixel >90
Last week
50MeV PbWO4+SiPM
有點小問題, 要重新處理signal

## Slide 42
Status updating
Optical simulation:
Hits on photon senser
Triggered on photon sensor
Time(ns)
# of pixel fired
Height
160fC to 400pC = 10 pixels to 25*10^4 pixels (if gain == 10^5)
PDE & Recovery
Integral # of pixel fired
# of events

## Slide 43
Status updating
Optical simulation: 50MeV case
Time(ns)
# of pixel fired
Integral
# of pixel fired
LYSO+APD
PbWO4+SiPM
# of pixel fired
Hits on photon senser
Triggered on photon sensor
Saturation
100MeV

## Slide 44
Status updating
Beampipe simulation:
x
y
Red line: PID =-11
It should be 500A case.
y = p0 + p1*x
Magnetic field

## Slide 45
Status updating
半高寬:
THR: Trigger Pixel >90
We can still collect light(energy) when 3x3->5x5.
5x5 Resolution by eyes(not accurate): Edep: 13600/40000=0.34% Pixel: 300/1750 =0.17%
5x5 Resolution by eyes(not accurate): Edep: 16000/40000=0.4 Pixel: 480/1100 =0.43
600 pixel -> 30MeV (1x1)
90 pixel -> 1.5MeV

## Slide 46
Status updating
Method to convert # of pixel to energy?
Experimentally, we do: Matching the peak 30(50)MeV->600pixel
半高寬 1x1 3x3 5x5
半高寬 1x1 3x3 5x5

## Slide 47
Status updating
Optical simulation:
Crosstalk:
After pulse
Only 5% have crosstalk and time delay is larger than our integral time(100ns).
160fC -> 400pC

## Slide 48
Status updating
Beampipe simulation:
x
y

## Slide 49
Status updating
Beampipe simulation:
Red line: PID =-11
blue, green, red histograms are respectively to x0[−5.,+5.)mm、[−10.,+10.)mm、[−15.,+15.)mm.

## Slide 50
Beam direction
30deg
z
x
Beam direction = track.direction.x - tan30⁰
dx>0 -> not 30 degree. -> ~4 degree
Also, the beam is not perpendicular to the LYSO. (good news?)
Selection:
Positron only, first hit only, Edep > 0.1MeV
Need more statistic and have a better efficiency...
2954 hit / 1000000 incident
Selection:
Positron only, first hit only, Edep > 0.1MeV
Beam position
Beam line