## Slide 1: Weekly meeting
Yu-Siang Xiao (蕭宇翔)
2025 12/24

## Slide 2: Update the algorism of ADC/Edep summation
In the past, the ADCmax channel will setting to be the peak channel in this event.
But in the PbWO + SiPMx2 case and the future plane, the peak channel couldn’t be the most energetic channel. It need to suming up all signal in same crystal.
I finish the code upgrade to make the calculation easier, in:
  Energy summation.
  BM-Track calculation.
  Center of mass calculation.
  Extrapolate of the BM-track.
  The residual of ZDC and BM-track.
  The shower spread drawing.
  The shower spread

## Slide 3: Update the online monitoring HTML
Finish the graphs insertion from reconstruction event to the calibrated event in HTML.
Add the graph: count of channel VS time to check the detector working well.
Add the energy resolution bar graph to show the energy resolution in different clustering.
Add the graph of ADCmax ,ADC3x3 ,ADC5x5 , and ADCs spectrum after calibration.

## Slide 4: Apply the energy conversion function
After the update, the online monitoring could display in both ADC and Edep type.
  (Data-771)/(MCx281.72)=1
Thus, using the beam time data to draw the energy and position resolution in beam time is easy now.

## Slide 5: The latest result
I will show the 2 graph in ChIP.