## Slide 1: Weekly meeting
Yu-Siang Xiao (蕭宇翔)
2026 04/17

## Slide 2: New MC for data conversion factors(ADC to MeV)
SY make the MC reconstructed beam profile to correspond the data in this new MC.

## Slide 3: New MC for data conversion factors(ADC to MeV)
BM2
PbWO
BM1
Multiplicity on detectors
dX
dY
dZ
Initial condition, direction V / |V |
X
Y
Z
Initial condition, position X
Initial condition, momentum(|p|)
PID=-11, positron
Take 796 MeV for example:

## Slide 4: Data MC consistency, and conversion factor
Fit the peak of MC(MeV) and data(ADC) in Emax.
Using MC to fit data by TΜnuit, the fcn χ2 = ((data – offset)/gain – MC)2.
The fitting parameters:
  Gain = 370.73 ± 7.50, ADC offset = -8417 ± 2181
  Chi2 = 1.702, ndf = 6, Chi2/ndf = 0.284(very high correlation).
Draw the MC in data form( Edep->ADC ) and do the data/MC comparison.
MeV form
Scan on E
fitting
Energy[MeV]

## Slide 5: Neglect the 98 MeV point
High THR. make the signal in Emax crystal are not always fire 2 SiPM channels in data.

## Slide 6: Data MC consistency on different energy (Emax)
Different energy graph
MC and data are well fitted.
I will check statistic asap…

## Slide 7: Data MC consistency on different energy (E3x3)
Different energy graph
Need to check the apply THR. cases.
I will check statistic asap…

## Slide 8: Data MC consistency on different energy (E5x5)
Different energy graph
Need to check the apply THR. cases.

## Slide 9: End

## Slide 10: backup