## Slide 1: ECal 3rd Prototype Beam Test Analysis
Yen-Chen Wu
Dept. Physics, National Central University
2026/09/30

## Slide 2: Pedestal issue report
Crystal#2
Crystal#1

## Slide 3: Pedestal issue report
Crystal#4
Crystal#3

## Slide 4: Pedestal issue report
Channel:
Crystal#6
Crystal#5
Channel:

## Slide 5: Pedestal issue report
Crystal#8
Crystal#7

## Slide 6: Pedestal issue report
Crystal#10
Crystal#9

## Slide 7: Pedestal issue report
Crystal#12
Crystal#11

## Slide 8: Pedestal issue report
Crystal#14
Crystal#13

## Slide 9: Pedestal issue report
Crystal#16
Crystal#15

## Slide 10: Dead channels by hardware unit
IC1:
0~8, 9~17,
18~26,27~35,
36~44, 45~53,
54~62, 63~71
IC2:72~143
IC3:
144~152,153~161,
162~170, 171~179,
180~188, 189~197,
198~206, 207~215
Individual dead channel (eg: offset, no signal, weak signal)
IC4:216~287

## Slide 11: FPGA1 FPGA2 time mismatch
Evt number
evt number
timestamps_r
timestamps_r
t[i]-t[i-1]
t[i]-t[i-1]
FPGA1
FPGA2

## Slide 12: Time-aligned event matching
Run421:total evt: 13590 matched evt: 13417 evt discarded: 173 recover rate: 0.98727
Run422:total evt: 1929 matched evt: 1894 evt discarded: 35 recover rate: 0.981856
Run423:total evt: 11584 matched evt: 11454 evt discarded: 130 recover rate: 0.988778
Run424:total evt: 13172 matched evt: 13022 evt discarded: 150 recover rate: 0.988612
Run425:total evt: 12732 matched evt: 12591 evt discarded: 141 recover rate: 0.988926
Run426:total evt: 12793 matched evt: 12658 evt discarded: 135 recover rate: 0.989447
Run427:total evt: 11874 matched evt: 11752 evt discarded: 122 recover rate: 0.989725
Run428:total evt: 12331 matched evt: 12205 evt discarded: 126 recover rate: 0.989782
Run429:total evt: 9790 matched evt: 9685 evt discarded: 105 recover rate: 0.989275
Run430:total evt: 10903 matched evt: 10781 evt discarded: 122 recover rate: 0.98881
Run431:total evt: 8116 matched evt: 8028 evt discarded: 88 recover rate: 0.989157
Run432:total evt: 9055 matched evt: 8962 evt discarded: 93 recover rate: 0.989729
Run433:total evt: 2419 matched evt: 2392 evt discarded: 27 recover rate: 0.988838
Run434:total evt: 2447 matched evt: 2428 evt discarded: 19 recover rate: 0.992235
Run481:total evt: 18875 matched evt: 18672 evt discarded: 203 recover rate: 0.989245
Run482:total evt: 18710 matched evt: 18511 evt discarded: 199 recover rate: 0.989364
Event recover rate are all above 98%
Successful cross-check with 家城

## Slide 13: 3x3 energy clustering
No second peak found!
Energy in one crystal is defined as “(raw ADCmax – ADC[0])/number of good channel”
Summation over all 3x3 crystals around crystal#7
Fit with DSBC
Run421 E_beam=823MeV
Run433 E_beam=100MeV

## Slide 14: Energy resolution vs. beam energy
Energy in one crystal is defined as “(raw ADCmax – ADC[0])/number of good channel”
Summation over all 3x3 crystals around crystal#7
Fit with DSBC
Energy resolution is defined as DSBC sigma/mean