## Slide 1: ECal 3rd Prototype Beam Test Analysis
Yen-Chen Wu
Dept. Physics, National Central University
2026/10/07

## Slide 2: Dead channels by hardware unit
IC1:
0~8, 9~17,
18~26,27~35,
36~44, 45~53,
54~62, 63~71
IC2:72~143
IC3:
144~152,153~161,
162~170, 171~179,
180~188, 189~197,
198~206, 207~215
Individual dead channel (eg: offset, no signal, weak signal)
IC4:216~287

## Slide 3: Channels with pedestal drop included
1x1 clustering
3x3 clustering
4x4 clustering
823MeV
705MeV
584MeV
492MeV

## Slide 4: Channels with pedestal drop included
1x1 clustering
3x3 clustering
4x4 clustering
395MeV
297MeV
197MeV
100MeV

## Slide 5: Resolution(include pedestal drop channel)
Energy in one crystal is defined as “(raw ADCmax – ADC[0])/number of good channel”
Fit with DSBC
Energy resolution is defined as DSBC sigma/mean

## Slide 6: All dead channels excluded
1x1 clustering
3x3 clustering
4x4 clustering
823MeV
705MeV
584MeV
492MeV

## Slide 7: All dead channels excluded
1x1 clustering
3x3 clustering
4x4 clustering
395MeV
297MeV
197MeV
100MeV

## Slide 8: Resolution(all dead channel excluded)
Energy in one crystal is defined as “(raw ADCmax – ADC[0])/number of good channel”
Fit with DSBC
Energy resolution is defined as DSBC sigma/mean

## Slide 9: Compare resolution
With pedestal drop channel
Without pedestal drop channel
All channel included give better resolution
Resolution: 4x4 < 3x3 < 1x1