## Slide 1: RPC work
Chia-Yu Hsieh
Academia Sinica, Taiwan

## Slide 2: RPC Electronics for JP
Amp production
30 pcs ready
220 pcs under production
Amp chips arrive TW, will go for production
Discriminator control code
Goal : setting threshold ch by ch, Nov. 2026 test beam
python-based code is ready (濂宸)
New firmware is ready (Dr. Chu)
under test (逸銘 & 孟昕)
Discriminator prototypes (test beam from Oct. 31st to Nov. 4th. 2026)
discriminator 2026_v1_neg*2 : ready
discriminator 2026_v1_pos*2 : under production, should be ready by test beam
discriminator 2026_v2_neg*2 : under production
discriminator 2026_v2_pos*2 : under production
v1 and v2 have different stretching design

## Slide 3: Carbonless : Study with Oscilloscope
Carbonless
Scin_top
Scin_bottom
AND
Amp
2025_v1
Oscilloscope
Trigger(TTL)
LV +6V
current =?
HV +1kV
HV +1kV
HV = +7kV
+ HV= -7kV
current VS HV?
Discriminator 2025_v1
LV +5V, current = 1.2A
LV – 5V, current = 0.25A
LVDS
raw
Oscilloscope
Trigger(TTL)
4ch_OR(TTL)
raw

## Slide 4: To Do
Students in NCU
Draw new design carbonless 3D frame
check HV current when increasing up HV and also monitor for long time @ 15kV
check efficiency (4ch connected), time resolution (trigger -RPC) with new TDC
modify the carbonless frame
Build HV box?
Analysis :
separate time zone : signal time zone ,noise time zone
fill amplitude histogram
noise time zone define threshold
efficiency after threshold cut
濂宸
Control program

## Slide 5: Comments
Standalone PC for RPC
Online display for VI monitoring.
Oscilloscope measure efficiency
To measure 4 RPC channels, dis + OR
Use current discriminator should work.
LVDS cable
v1 and v2 stretcher function. circuit. Reason to develop v2.

## Slide 6: Back up

## Slide 7: Carbonless : Efficiency and Time Resolution Study
Carbonless
Scin_top
Scin_bottom
AND
Amp
TDC
Trigger
signal#1
LV +6V
HV +1kV
HV +1kV
HV = +7kV
+ HV= -7kV
Carbonless
Amp
signal#2
@Trigger
matching
mode
Need to make new frame -> layout of carbonless PCB
Discriminator