## Slide 1: Double Beta Decay in Germanium
Ian Guinn
May 24, 2023
PIRE-GEMADARC Summer School
Taipei, Taiwan

## Slide 2: Outline
What is neutrinoless double-beta decay? Why is it interesting?
How do we search for neutrinoless double beta decay?
Searching for 0νββ in Germanium: the current experimental landscape
A brief survey of low background experimental techniques

## Slide 3: What is Double-Beta Decay?
Reminder: β--decay
Neutron decays into a proton, electron and anti-neutrino
Broad energy spectrum because of “missing” energy in neutrino
From G. J. Neary, Proc. Phys. Soc. (London), A175, 71 (1940).
Conserves
Energy+momentum
Angular Momentum
Charge
Lepton Number

## Slide 4: β-decay in the Standard Model
β-decay is moderated by the W-Boson:
Charged-Current Interaction
Conserved Lepton-number and Baryon-number
Maximally parity violating
  We have never observed a right-handed neutrino!
M. Shaposhnikov, Neutrino physics within and beyond the three flavour oscillation, J.Phys.Conf.Ser. 408 (2013) 012015.

## Slide 5: What is Double-Beta Decay?
ββ-decay:
2 neutrons decay into 2 protons, 2 electrons and 2 anti-neutrinos
Broad energy spectrum
Conserves
Energy+momentum
Angular Momentum
Charge
Lepton Number

## Slide 6: What is Double-Beta Decay?
ββ-decay is seen in even-even nuclei when single β-decay is energetically forbidden
Predicted by Maria Goeppert-Mayer in 1935
First evidence in 1950 from geochemical measurements; not directly observed until 1987
Typical half-lives are 1018 - 1024 yrs
Related process of double-electron capture first directly observed in 2019
Proton Number
J. Menendez, (http://www.hindawi.com/journals/ahep/2012/857016/)

## Slide 7: Neutrinoless Double-Beta Decay
0νββ-decay:
2 neutrons decay into 2 protons, 2 electrons and 2 anti-neutrinos
Broad energy spectrum
Predicted by Furrie in 1937, if the neutrino is a Majorana fermion
Conserves
Energy+momentum
Angular Momentum
Charge
Lepton Number

## Slide 8: What’s a Majorana Fermion?
First: a thought experiment to demonstrate the relationship between mass and helicity for spin-1/2 particles:
In particle physics terms, this means that massive spin-1/2 particles must have a coupling between their left-handed and right-handed components
Momentum:
Spin:
Helicity:
Lorentz Boost

## Slide 9: Where does neutrino mass come from?
In the 1930’s, Paul Dirac and Ettore Majoana proposed two different mechanisms for giving spin-1/2 particles mass:
Dirac mass: couple left-handed particle to right-handed particle
Generated by the Higgs mechanism.
H (Higgs Boson)

## Slide 10: Where does neutrino mass come from?
In the 1930’s, Paul Dirac and Ettore Majoana proposed two different mechanisms for giving spin-1/2 particles mass:
Majorana mass: couple left-handed particle to right-handed anti-particle
This violates lepton number and is only allowed for neutral particles

## Slide 11: See-Saw Mechanism
The most popular, “minimal” mechanism for providing a Majorana Mass term:
Add a very heavy right-handed neutrino with both Majorana and Dirac mass terms:
One eigenstate is a mostly-left-handed neutrino with mass
If , the generated mass could be much smaller than other SM Fermions!
H. Murayama, Physics World (May 2002).

## Slide 12: The Origin of Matter: Leptogenesis?
Why is there an asymmetry between matter and anti-matter in the universe?
To do this, we need to fulfill the Sakharov conditions:
Violation of lepton/baryon number
C and CP violation
Thermodynamic disequilibrium
The Standard Model is insufficient! Not enough CP violation to do this with quarks
Could produce this via Leptogenesis
A Majorana mass generating mechanism at high energy scales could cause leptogenesis!
NASA, James Webb Telescope

## Slide 13: Outline
What is neutrinoless double-beta decay? Why is it interesting?
How do we search for neutrinoless double beta decay?
Searching for 0νββ in Germanium: the current experimental landscape
A brief survey of low background experimental techniques

## Slide 14: The half-life of 0νββ
Depends on:
Phase space factor: can be precisely calculated
Nuclear Matrix Element: Large uncertainty in calculations
Effective neutrino mass: Unknown
Neutrino masses: scale and hierarchy unknown
Mixing Angles: measured

## Slide 15: The Lobster Plot
The allowed values of
Figure courtesy of A. Schubert
Recall: there are two “mass orderings” that are consistent with current experiments
Exercise: Where do these shapes come from?

## Slide 16: The Lobster Plot
The allowed values of
Figure courtesy of A. Schubert
Trick: add these together in complex-polar coordinates to deduce properties

## Slide 17: Nuclear Matrix Elements
Great uncertainty in theory estimation of half-life from nuclear matrix elements

## Slide 18: What Half-lifes are we looking at?
Figure courtesy of A. Schubert
yr half-life in 76Ge (current best limits)
yr half-life in 76Ge (goal for next-gen experiments)
Note: a half-life measurement corresponds to a range of s due to NME uncertainties

## Slide 19: How do we measure a half-life?

## Slide 20: How do we measure a half-life?
Method 1: count nuclei (or decay rate) at multiple times, and watch it decrease. Problem: we can’t wait yrs for this…

## Slide 21: How do we measure a half-life?
Method 1: count nuclei (or decay rate) at multiple times, and watch it decrease. Problem: we can’t wait yrs for this…
Method 2: count individual decays, calculate decay rate, and use
Need only know number of nuclei N and decay rate to measure very-long-half-life processes!
Time

## Slide 22: How many events do we expect to see?
If we have a Ge detector with 25 kg of 76Ge, how many counts would we see on average in 1 year if the half-life were yr (assume perfect detection efficiency)?

## Slide 23: How many events do we expect to see?
If we have a Ge detector with 25 kg of 76Ge, how many counts would we see on average in 1 year if the half-life were yr (assume perfect detection efficiency)?
: time of observation : half-life
: Avogadro’s number
: mass of detector : isotopic fraction of 76Ge
g: molar mass of isotope
: detection efficiency
: “Exposure” of measurement
Answer: 1.4 cts!
Number of nuclei
Half-Life | Count Rate
yrs (2νββ HL in 76Ge) | 3 cts/kg-d
yrs (best limits for 0νββ) | 5 cts/(100 kg-yr)
yrs (next-get goal for 0νββ) | 0.5 cts/(t-yr)
Half-Life | Count Rate
 | 3 cts/kg-d
 | 5 cts/(100 kg-yr)
 | 0.5 cts/(t-yr)

## Slide 24: How do we detect 0νββ events
Above: Idealized 2νββ and 0νββ spectrum
Right: Simulation of 0νββ peak in one ton of 76Ge in the presence of backgrounds
Backgrounds only
Backgrounds plus peak with HL 1028 yrs
e
e
e
e
x
0νββ
2νββ

## Slide 25: Discovery Sensitivity vs Exposure
To discover double-beta decay, we need:
Large exposure
  Large mass
  High detection efficiency
Nearly background free
  Reduce backgrounds from environment
  Distinguish signal from backgrounds with analysis

## Slide 26: Outline
What is neutrinoless double-beta decay? Why is it interesting?
How do we search for neutrinoless double beta decay?
Searching for 0νββ in Germanium: the current experimental landscape
A brief survey of low background experimental techniques

## Slide 27: Searching for 0νββ in Germanium Detectors
High Purity Germanium (HPGe) detectors have a long history of use in searching for 0νββ in 76Ge
HPGe detector acts as source and detector
Detectors can be isotopically enriched to >90% in 76Ge
Well understood technology with excellent energy resolution and low intrinsic backgrounds
Heidelberg-Moscow Experiment (Prog. Part. Nucl. Phys. 32, 261 (1994))
IGEX Experiment (Front. Phys. 7, 6 (2019))
The Majorana Demonstrator
GERDA
LEGEND-200

## Slide 28: P-Type Point Contact Detectors
Advantages of P-type Point-Contact detector geometries
Low capacitance for improved energy resolution and low thresholds
Pulse shape highly dependent on position of charge deposition
BeGe
PPC
Small mass (< 1 kg)
Excellent background rejection
Inverted-Coaxial
Newly developed for LEGEND
Large mass (up to 4 kg)
Excellent background rejection
NIMA ,891, 106-110, (2018)
IEEE Trans. on Nuc. Sci., 36, 1, 926-930 (1989)
Eur. Phys. J. C 79, 978 (2019)

## Slide 29: P-Type Point Contact Detectors
How do they work?
Weighting Potential
Weighting potential is localized around point contact, producing a sharp rising edge
Low electric field in bulk produces long drift times that can be distinguished in time
Drift Time (ns)

## Slide 30: P-Type Point Contact Detectors
Weighting Potential and Charge Drift
Acceptance Window
Charge signal
Current signal
accepted
Surface background on n+ contact
Surface background on p+ contact
Acceptance Window
Weighting Potential and Charge Drift
rejected
Current signal
Charge signal
External α, β, and γ backgrounds all create distinctive pulse shapes, allowing for highly efficient ββ decay event selection
Acceptance Window
Weighting Potential and Charge Drift
rejected
Charge signal
Current signal
Acceptance Window
Weighting Potential and Charge Drift
rejected
Current signal
Charge signal
0νββ signal candidate (single-site)
Courtesy of the LEGEND Collaboration

## Slide 31: The Majorana Demonstrator
Searching for neutrinoless double-beta decay of 76Ge in HPGe detectors, probing additional physics beyond the standard model, and informing the design of the next-generation LEGEND experiment
Excellent Energy Resolution: 2.5 keV FWHM @ 2039 keV
          and Analysis Threshold: 1 keV
Source & Detector: Array of p-type, point contact detectors
  30 kg of 88% enriched 76Ge crystals - 14 kg of natural Ge crystals
    Included 6.7 kg of 76Ge inverted coaxial, point contact detectors in final run
Low Background: 2 modules within a compact graded shield and active muon veto using ultra-clean materials
Reached an exposure of ~65 kg-yr before removal of the enriched detectors for the LEGEND-200 experiment at LNGS
Continuing to operate at the Sanford Underground Research Facility with natural detectors to search for decay of 180mTa

## Slide 32: Majorana Demonstrator Final Result
Operating in a low background regime and benefiting from excellent energy resolution
Final enriched detector active exposure: 64.5 ± 0.9 kg-yr
Background index at 2039 keV in lowest background configuration
15.7 ± 1.4 cts/(FWHM t yr)
Expect 1.5 background counts in ROI; measured 1 count
Second lowest background index by any 0νββ search to date!
PRL 130 062501 (2022)
  65 kg-yr Exposure Limit: T1/2 > 8.3 × 1025 yr (90% C.I.)
mββ < 113 - 269 meV

## Slide 33: GERDA
7x PMT
Fibershroud
HPGe detector array
590 m³ instrumented water tank
64 m³ LAr cryostat
Courtesy of the GERDA Collaboration

## Slide 34: Final GERDA Result
Background index: 5.2+1.6 ⋅10-4 cts/(keV kg yr),
Energy resolution ~3 keV (FWHM)
Frequentist: N0v = 0 best fit, T1/2 > 1.8⋅1026 yr at 90% C.L.
Bayesian: flat prior on rate, T1/2 > 1.4⋅1026 yr at 90% C.I.
PRL 125, 252502 (2020)
Background free!
Lowest background index of any experiment to date!

## Slide 35: The LEGEND Experiment
First phase:
(up to) 200 kg in upgrade of existing infrastructure at LNGS
BG goal: <0.5 c /(FWMH t y)
Discovery sensitivity at a half-life of 1027 years
Currently taking physics data
LEGEND
Subsequent stages:
1000 kg, staged via individual payloads
Timeline connected to review process
Background goal <0.025 cts/(FWHM t yr)
Location to be selected
Select best technologies, based on what has been learned from GERDA and the Majorana Demonstrator, as well as contributions from other groups and experiments.
MAJORANA
- Radiopurity of nearby parts (FETs, cables, Cu mounts, etc.)
- Low noise electronics improves PSD
- Low energy threshold (helps reject cosmogenic background)
- LAr veto
- Low-A shield, no Pb
GERDA
Both
Clean fabrication techniques
Control of surface exposure
Inherited point-contact detectors and production of new point-contact detectors
Lowest background and best resolution of 0nbb experiments

## Slide 36: LEGEND: Current Status
228Th Calibration Data
LEGEND-200 is currently taking data with 140 kg of HPGe detectors!

## Slide 37
Future Prospects of CDEX @ CJPL-II : Ge1T Project
Next: 300-kg 0nbb (towards IH) ; 50-kg DM (@ 0nbb bkg spec) (2028)]
Visions: Ge-1T (2033)  Ge-10T (2040) 0nbb (towards NH)
CJPL-II Hall-C Pit (Foreseen)
Artist’s Conception
2019-11

## Slide 38
76Ge enrichment
Ge purification and crystal growth;
HPGe detector fabrication;
Ultra-low background VFE and FADC;
Ultra-pure Cu for structure and cables;
Large-volume cooling tank “cryostat”
Mastering Key Technologies towards Ge-1T

## Slide 39: The Broader Experimental Landscape
GERDA is the leading limit in for 76Ge
KamLAND-Zen 800 has the leading overall limit using 136Xe:
PRL 125, 252502 (2020)
PRL 130, 051801 (2023)

## Slide 40: Outline
What is neutrinoless double-beta decay? Why is it interesting?
How do we search for neutrinoless double beta decay?
Searching for 0νββ in Germanium: the current experimental landscape
A brief survey of low background experimental techniques

## Slide 41: Sources of Backgrounds
We have strategies to reduce and discriminate each of these!
β
α
Radon daughters can plate out on surfaces, later depositing alpha and beta particles into surfaces
γ
Radioactive decays in the environment produce gammas that penetrate into the detector
μ
n
Cosmic ray muons, and particles produced as they pass through matter
β+
Decays of isotopes produced cosmogenically in detectors and surrounding components

## Slide 42: Reducing Environmental Gammas
Use ultra-clean materials:
Underground electroformed copper
Low-mass, low-background electronic components
Courtesy of the Majorana Collaboration

## Slide 43: Discriminating Environmental Gammas
0νββ is localized within ~1 mm (i.e. single-site). Many backgrounds are multi-site
Reject by comparing current amplitude to pulse height (AvsE)
Tuned on 228Th calibration data to accept 90% of single-site DEP events. Rejects >50% of the Compton continuum near Qββ
e
e
~1mm
Multi-site events in active volume: AvsE cut
γ
Single-Site (0νββ-like)
accepted
Multi-Site (γ-like)
rejected
Current Amplitude (A)
Current Amplitude (A)
Courtesy of the Majorana Collaboration

## Slide 44: Active Shielding for Environmental Gammas
Compton events with energy deposition in the LAr
Pure 2nbb spectrum after LAr signal suppression
Courtesy of the GERDA Collaboration
Submerge detectors in liquid Argon and use scintillation light to veto events

## Slide 45: Reducing Surface Particles
To prevent contamination of detector surfaces, we keep them in Nitrogen purged environments
Right: a LEGEND scientist is building a string of detectors in a glove box
Courtesy of the LEGEND Collaboration

## Slide 46: Discriminating Surface Particles
Bulk event
Surface α event
Delayed Charge Collection
Fast drift time
Slow Component
Courtesy of the Majorana Collaboration
Events at the surfaces of detectors can be distinguished by their pulse-shapes

## Slide 47: Reducing Muon Events
Build experiments in underground labs
  Top right: Sanford Underground Research Facility
  Bottom left: Gran Sasso National Laboratory
  Bottom right: China Jinping Underground Laboratory
Gran Sasso Mountain
Highway Tunnel
LNGS
LEGEND

## Slide 48: Vetoing Muon Events
Muon associated events can be vetoed by surrounding our experiments with muon detectors
590 m³ instrumented water tank

## Slide 49: Conclusion
Discovery of Neutrinoless Double-Beta Decay would revolutionize our understanding of physics
To do so will require a background free measurement of ~1 ton of material for ~10 years
Germanium detectors can search for 0νββ using many demonstrated techniques for achieving ultra-low backgrounds
Thanks for listening!